## Slide 1: EMPOWER 2024 webinar
Immunology
Erik Aarntzen, MD, PhD
erik.aarntzen@radboudumc.nl

## Slide 2: What is an immune response?
‘Inflammation is a response of body tissues to potentially harmful stimuli, aiming to eliminate the cause, prevent further damage and start tissue repair. The complex dynamics and contributions of different immune cell populations serves the delicate balance of tissue homeostasis across large surface areas. As too little or too severe, or inappropriate timing or duration, may result in progressive tissue destruction, the immune system is a key component in a wide variety of clinical conditions, including cancer, infectious and auto-inflammatory diseases.’

## Slide 3: Facilitators of inter-organ communication
neural system
metabolic networks
immune system

## Slide 4: Organization of the immune system
Several lines of defense
  innate: non-specific but fast
  (cellular: endothelium, neutrophils, monocytes)
  (humoral: antibodies, complement
  adaptive: slow but specific
  (T- and B-lymphocytes, dendritic cells)

## Slide 5: Organization of the immune system
Multiple means of communication
  soluble mediators (cytokines, chemokines) acting fast and systemically
  paracrine mediators (cytokines, fragments/exosomes) acting fast and locally
  cell-cell contact
  acting highly specific and lots of data transfer

## Slide 6: Organization of the immune system
Spatially distinct functions
  production : bone marrow
  reservoir: spleen
  exchange hubs: lymph nodes
  transport routes: blood, lymphatic system
  work spaces: internal organs and outer borders
  (mucosal sites, like skin, lung and intestines)

## Slide 7: Striking parallels

## Slide 8: Monitoring immune response
feature: biomarker requirements:
multi-compartmental > wide field-of-view
dynamic > non-invasive, serial
multi-cellular > molecular level, spatial information
broad range of magnitudes > sensitive, quantifyable
Chavakis et al. Nat Rev Immunol 2023;Hiam-Galvez et al. Nat Rev Cancer 2021; Boussiotis et al. New Engl J Med 2020; Hotchkiss et al. New Engl J Med 2014

## Slide 9: Monitoring immune responses
biomarker requirements: example technology:
wide field-of-view imaging
non-invasive, serial imaging, FACS, omics
molecular FACS, omics
spatial information multiplex IHC
sensitive, quantitative FACS, IHC
highly complex cross-disciplinary bright minds, like you

## Slide 10: Flow cytometry
high-dimensional characterization of single cells

## Slide 11
dissected tissue
blood sample
high throughput
high accuracy
non-disruptive
Saeys et al. Nat Rev Immunology 2016; McKinnon et al. Curr Protoc Immunol 2019; Burton et al. PLoS Comput Biol 2021
single cell suspension
xx cells/sec
10.000 cells/sec

## Slide 12
now available!
50+ channels

## Slide 13: Output parameters – 1
Visible ligth:
side scatter (SSC): granularity
forward scatter (FSC): relative size
overall sample quality
identify live cells

## Slide 14: Output parameters – 2
parameter intensity per cell
number of cells

## Slide 15: Output format
Flow Cytometry Standard: .fcs files
Common visualization:

## Slide 16: Data gating
manual gating
1 or 2 dimensions
(e.g. FloJo, OpenCyto)
automated gating:
high-dimensional
(e.g. FlowSOM, SPADE)
(semi-)supervised classification
(e.g. FlowLearn, DeepCyToF)
direct modeeling
(e.g. ACCENSE, CytoDx)

## Slide 17: Data curation
eliminating douplets, cell debris, death cells etc
batch effects, as per labeling-antibody fluorescent signal may vary
compensation for spill-over of fluorescent signal to other cells

## Slide 18: Machine learning for biomarker identification
classification: compare sample groups
regression: model biomarker with continuous outcome
survival analysis: model biomarker to event

## Slide 19: Machine learning for biomarker identification
computational pipelines for exhaustive clustering, followed by feature selection step to select the most relevant cell populations:
  FloReMi, random forest based, https://github.com/SofieVG/FloReMi
  Citrus, hierarchical clustering based

## Slide 20: Data processing tool
open source autonous cytometry analysis framework
written in Python, accessible via Jupyter Notebook
CytoPy https://github.com/burtonrj/CytoPy

## Slide 21: Learn more!
lecture Immunology, by Hans Koenen
  Thursday October 10
lecture Flow Cytometry, by Bram van Cranenbroek
  Thursday October 10

## Slide 22: Donan study panels
 |  | FL1-FITC | FL2-PE | FL3-ECD | FL4-PE-Cy5.5 | FL5-PC7 | FL6-APC | FL7-APC-AF700 | FL8-APCAF750 | FL9-PB | FL10-KO
LMI1 | general | CD16 | HmLA-DR | CD14 | CD4 | CD25 | CD56 | CD8 | CD19 | CD3 | CD45
LMI2 | T cell | CD45RA | CD3 | CD45RO | CD27 | CD25 | CD56 | CD127 | CD8 | CD4 | CD45
LMI3 | B cell | IgD | IgM | CD3 | C27 | CD38 | CD24 | CD5 | CD19 | CD20 | CD45
LMI4 | T reg | Ki67 (ic) | HLA-DR | CD45RA | CD4 | CD25 | Helios (ic) | CD127 | CD8 | FoxP3 (ic) | CD45
LMI5 | T cytokine | IL-2 (ic) | IL-10 (ic) | CD3 | CD4 | IFN-g (ic) | CD161 | CD8 | IL-17 (ic) | CD197 | CD45
LMI6 | Chemokine | CD45 | CD196 | CD8 | CD183 | CD194 | CD25 | CD4 | CD195 | CD197 | CD45
LMI7 | exhaustion | CD57 | CD28 | CD45RA | KLRG1 | CD279 | CD25 | CD4 | CD8 | CD197 | CD45

## Slide 23: Donan study example
absolute and relative numbers of immune cell populations sharing markers related to:
lineage
activation status
maturation status
trafficking

## Slide 24: Donan study example

## Slide 25: Donan study example

## Slide 26: Multiplex immune histochemistry
characterizing cellular interactions by preserving spatial relations

## Slide 27: Cellular interactions result in spatial patterns
De Sousa et al. Nat Rev Cancer 2024

## Slide 28: Multiplex ihc processing
tissue microarray (TMA)
tissue slices
iterative technology
single-stain technology
raw images
raw images
signal correction1,2
registration of cycles
open microscopy environment (OME)-TIFF
segmentation
visualization for QC
single-cell feature table (.csv, .fcs)
intensity of image marker per cell
morphology descriptors
e.g. QuPath
https://qupath.github.io
1 tissue: necrosis, fragmented, autofluorescence
2 staining: background and artificial signal

## Slide 29
Einhaus et al. Virchows Archiv 2023
Using the specificity of antibodies

## Slide 30: Segmentation is a critical step
manual annotations to train an algorithm
needs 1000 annotations to train segmentation of 1 population
automated cell segmentation:
Mesmer (https://github.com/vanvalenlab/intro-to-deepcell.)
CellPose ( www.github.com/mouseland/cellpose)
end-to-end open source frameworks:
MCMICRO (https://github.com/labsyspharm/mcmicro)
SpatialData (https://spatialdata.scverse.org)

## Slide 31: Spatial analysis approaches
first-order (one cell type)
second-order (cell pair)
cell phenotyping
total cell proportion analysis
cell proportion analysis in tissue
compartments

## Slide 32: Spatial analysis approaches
higher-order (multiple cell types)
cellular interaction analysis

## Slide 33: Learn more!
lecture Microscopy, by Bettina Weigelin
  Tuesday, October 8
lecture Digital Pathology, by John Paul Graff
Monday, October 14

## Slide 34: Donan study example

## Slide 35: Molecular imaging
First webinar by Lalith Sundar

## Slide 36: Omics
Webinar by Rob ter Horst

## Slide 37: complementary modalities
modality | sample size (# cells) | context | quantification | sample invasiveness | routine use
flow cytometry | ~ 108 | no | +++ | +/- | +++
multiplex IHC | ~ 108 | yes, cellular and tissue | +++ | + | ++
molecular imaging | ~ 1023 (all!) | yes, tissue and organ | ++ | - | +/-
~omics | ~ 105 – 106 | no | ++ | - | +/-

## Slide 38: Next big challenge…
tumor tissue
draining lymph nodes
blood compartment
clinical
characteristics
in vivo mAb distribution
hematopoietic
organs

## Slide 39: Quantitative modelling

## Slide 40: Quantitative systems pharmacology
Tumor Draining
totalCD8
totalCD8
totalCD8
totalCD8
durvalumab
durvalumab
durvalumab
durvalumab
adapted from: Nikfar et al. Cancers 2023

## Slide 41: Learn more!
lecture Mathematical Immunology, by Jonas Mackerodt
Thursday, October 10

## Slide 42: Questions?